| Blood: p = 0.009 (valid n=39, QNS n=9) ¦ Cyst Fluid: p = 0.324 (valid n=74, QNS n=8) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Supplementary Table. Fluid volume — QNS vs. valid, by specimen type |  |  |  |  |
| Specimen Type | Result Category | n | Median Volume (mL) | IQR |
| Blood | Valid | 39 | 8.5 | [5.0–10.0] |
| Blood | QNS | 9 | 4.0 | [4.0–7.0] |
| Cyst Fluid | Valid | 74 | 8.0 | [4.1–10.0] |
| Cyst Fluid | QNS | 8 | 5.2 | [1.0–9.5] |
| Aspiration-level analysis: one entry per unique patient × volume combination. Two-sided Mann–Whitney U test within each specimen type. Restricted to Blood and Cyst Fluid specimens with measured fluid volume > 0. Excludes: 3 Other/FFPE valid tests; 22 Blood/Cyst Fluid valid tests with missing or zero fluid volume; 2 QNS tests with missing or zero fluid volume. Stratified analysis avoids confounding by specimen-type-dependent differences in expected volume and collection workflow. |  |  |  |  |