| Table 2. Test Volume, Validity, and Results (N = 160 tests) |  |  |  |
| --- | --- | --- | --- |
| Category | Total n | Positive n (%) | Negative n (%) |
| Test Validity |  |  |  |
| Total tests ordered | 160 |  |  |
| Analyzable (valid) | 135 (84.4%) | 45 (33.3%) | 90 (66.7%) |
| QNS | 19 (11.9%) |  |  |
| Cancelled | 6 (3.8%) |  |  |
| Results by Assay (valid tests only) |  |  |  |
| PIK3CA Multiplex | 119 (88.1%) | 39 (32.8%) | 80 (67.2%) |
| TEK | 10 (7.4%) | 5 (50.0%) | 5 (50.0%) |
| BRAF | 6 (4.4%) | 1 (16.7%) | 5 (83.3%) |
| Specimen Type (valid tests only) |  |  |  |
| Blood | 46 (34.1%) | 7 (15.2%) | 39 (84.8%) |
| Cyst Fluid | 86 (63.7%) | 36 (41.9%) | 50 (58.1%) |
| FFPE Scrolls | 3 (2.2%) | 2 (66.7%) | 1 (33.3%) |
| Specimen Collection Metrics |  |  |  |
| Fluid volume, mL — median (N=113 aspirations with vol > 0) | 8.0 | 8.2 (N=36) | 8.0 (N=77) |
| DNA concentration, ng/µL — median (N=134) | 4.1 | 4.5 | 4.0 |
| DNA used in assay, ng — median [IQR] (N=133) | 47.6 [23.8–60.0] | 39.7 [28.6–60.0] | 49.2 [22.8–60.0] |
| EXON 21 WT droplets — median [IQR] (N=118) | 1975.7 [1058.0–2942.5] | 1598.3 [1182.0–2604.2] | 2145.3 [849.7–3302.5] |
| EXON 10 WT droplets — median [IQR] (N=118) | 2648.3 [1395.8–4314.5] | 2148.7 [1515.2–4222.0] | 2697.3 [1105.0–4440.0] |
| TEK single probe droplets — median [IQR] (N=10) | 2046.0 [915.8–2515.0] | 2029.0 [891.0–2063.0] | 2602.3 [990.3–2676.7] |
| BRAF single probe droplets — median [IQR] (N=5) | 3632.0 [1084.3–5521.0] | 6488.0 [6488.0–6488.0] | 2358.2 [997.4–4104.2] |
| QNS = quantity not sufficient. Blank result entries excluded from all counts. NEG* treated as Negative. Fluid volume reported per aspiration (one entry per unique patient × volume combination); 22 of 135 valid tests excluded for missing or zero fluid volume. DNA and droplet metrics at test level (all valid tests). |  |  |  |